## Slide 1
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA

## Slide 2: E-Link is HVI’s feature packed remote control and report generation software package
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA

## Slide 3: The Home Screen
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click to view or create a test report
View or edit previous tests
Edit and change settings
Export test data to .csv format
Export test data to an external database
Click to run a test
Upgrade your hipot to latest firmware version
Create or edit test profiles
Combine multiple test profiles into sequences

## Slide 4: Connecting Wirelessly to VLF
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Plug in the X-Stick into a USB Port
Click on settings
Click on Auto Detect

## Slide 5: Remote Operation of Hipot via XBee Wireless Protocol
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click Run Test
Choose a measurement source
Choose a voltage and dwell time to spend at each voltage
Click start to begin test
Click Start for a second time to confirm action
Live test data
Test data from each step
Graph for analysis of TD, V, I, and Time
Add identifying information about the system under test
Choose waveform:
+ DC, - DC, sinewave or squarewave
Click this box to toggle between RMS and Peak metering, metering in RMS if checked

## Slide 6: Custom Report Generation
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click on Reports
Choose the location where the test data is stored
Choose files for the report
Choose what data for the report
Choose preview or print to review/generate the report
Your test report has been created

## Slide 7: Change the Test Report Title
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click on setting
Type in what you want the title to be
The test report has an updated title

## Slide 8: Add Your Company’s Logo to Report
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click on setting
Browse and choose the your company logo file in .jpg, .png. Or .bmp format
Your company logo will appear here

## Slide 9: Export to .csv for Advanced Report Generation
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click on export to .csv
Choose one of the saved test data files which are .hvc files
Click on open
Your test report data has been imported to .csv format, open with Excel or other spreadsheet program

## Slide 10: Build Custom Test Profiles
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click on profiles
Click on new to create test profile
Create a profile name and press ok
Choose your waveform, frequency, overload reaction, add test voltage and dwell time for each voltage for up to 5 steps
Add test location and system identification information here

## Slide 11: Build Custom Test Sequences
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click on sequences
Click on new to create a test sequence
Enter a name for he test sequence
Choose the desired test profiles in the left column to the right column using the add profile button or remove profile button. Choose hierarchy of test profiles with move profile up button and move profile down button.

## Slide 12: Wireless File Transfer Between PC and VLF
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click on VLF File Transfer
Click here to choose between saved tests, profiles, and sequences
Click here to copy files from VLF to PC
Click here to copy files from PC to VLF
Click here to move files from VLF to PC and delete from VLF
Click here to delete files on the VLF
Click here to choose files created by the VLF-34E or VLF-65E

## Slide 13: Simulation Mode
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Click run test
Choose sim as measurement source
Click start twice to confirm action
Simulated test data
Simulated test data from each step
Graph for analysis of simulated TD, V, I, and time data
Choose waveform:
+ DC, - DC, sinewave or squarewave
Click this box to toggle between RMS and Peak metering, metering in RMS if checked

## Slide 14
ISO 9001 2015
The World’s Source for High Voltage Test Equipment
MADE IN THE USA
High Voltage, Inc. • hvinc.com • p. 518.329.3275 • f. 518.329.3271 • 31 County Route 7A • Copake, NY 12516 USA
Thank you for watching, if you have any questions please contact
High Voltage, Inc. or your local High Voltage, Inc. sales representative
Thank You
from